## Slide 1: Grounding System & Surgical Lighting
ADNAN RAMZAN
FSC(OT)
Doctors Institute of Medical & Emerging Science

## Slide 2: What is Grounding?
Provides a safe path for electrical current during faults.
Protects people and equipment from electric shocks.
Connects electrical systems to the earth.

## Slide 3: Components of a Grounding System
Conductor – carries fault current safely.
Connector – joins conductor to electrode.
Electrode – rod or grid placed in soil.
Soil – provides resistance for current dissipation.

## Slide 5: Grounding Rods
Made of copper, stainless steel, or conductive metals.
Increasing diameter reduces resistance only slightly.
Driving rod deeper significantly reduces resistance.
Doubling depth can reduce resistance up to 40%.

## Slide 6: Grounding Grids
Multiple rods connected together.
Used in substations and large facilities.
Creates low-resistance paths and equal potential zones.
Improves grounding reliability.

## Slide 7: Other Grounding Options
Grounding Plates – thin copper plates buried in soil.
Concrete-encased electrodes (Ufer ground).
Chemical rods – filled with electrolytic salts.
Used where soil resistivity is high.

## Slide 8: Ground Resistance Concept
Electrode is surrounded by soil layers.
Outer layers add less resistance than inner layers.
Low soil resistivity = better grounding.
Resistance measured using ground tester.

## Slide 9: Shadowless Surgical Lighting
Reduces shadows caused by tissue during surgery.
Modern LED lamps provide bright, uniform light.
Reflective surfaces help concentrate light.
Important for deep cavity surgeries.

## Slide 10: Types of Surgical Lighting
Direct Lighting – shines straight onto surface.
Indirect Lighting – light reflected from ceiling.
Semi-Direct – mostly downward, some upward.
Semi-Indirect – mostly upward, some downward.
Diffused – soft, evenly spread light.

## Slide 11: Why Good Lighting Matters in Surgery
Improves visibility of surgical area.
Reduces eye strain for surgeons.
Ensures accuracy and safety.
Prevents shadows and glare.

## Slide 12: Extra Easy Points
Good grounding avoids fire and equipment damage.
Better soil = better grounding performance.
LED surgical lights consume less power.
Shadowless lights help surgeons work longer comfortably.